{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":22,"n_cols":7,"rows_kept":22,"merged":[[0,0,0,5],[1,0,1,2],[2,0,2,2],[3,0,3,6],[7,0,10,0],[7,1,10,1],[7,2,10,2],[11,0,14,0],[11,1,14,1],[11,2,14,2],[15,0,18,0],[15,1,18,1],[15,2,18,2],[21,1,21,6],[22,1,22,3]]}
["项目名称：7台动态计重衡器维修服务（含配件）  "]
["报价单位（签章）："]
["报价日期：______年____月____日"]
["维修项目明细"]
["序号","衡器厂家","型号","名称","单位","数量","备注"]
[1,"辽宁因泰立","ZCS-60A-DZ","更换计重采集器主板","台",1,"含计重附属设施维修"]
[2,"辽宁因泰立","ZCS-60A-DZ","更换计重采集器主板","台",1,"含计重附属设施维修"]
[3,"大唐科技","ZDG-60-DZ","更换计重传感器","台",4,"含计重附属设施维修"]
[{"$nulls":3},"更换轮轴传感器","台",2,"含计重附属设施维修"]
[{"$nulls":3},"更换16路接线盒主板","块",1,"含计重设备线路修复"]
[{"$nulls":3},"垫片","片","若干","传感器找平"]
[4,"大唐科技","ZDG-60-DZ","更换计重传感器","台",4,"含计重附属设施维修"]
[{"$nulls":3},"更换轮轴传感器","台",2,"含计重附属设施维修"]
[{"$nulls":3},"更换16路接线盒主板","块",2,"含计重设备线路修复"]
[{"$nulls":3},"垫片","片","若干","传感器找平"]
[5,"大唐科技","ZDG-60-DZ","更换计重传感器","台",2,"含计重附属设施维修"]
[{"$nulls":3},"更换轮轴传感器","台",1,"含计重附属设施维修"]
[{"$nulls":3},"更换4路接线盒主板","块",2,"含计重设备线路修复"]
[{"$nulls":3},"垫片","片","若干","传感器找平"]
[6,"万集科技","DCS-60KII","更换开关型自动化光栅","套",2,"含计重附属设施维修"]
[7,"万集科技","DCS-60KII","更换开关型自动化光栅","套",2,"含计重附属设施维修"]
[null,"合计金额（人民币）：【小写】___________________ 【大写】________________________"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}